Doc 5a - Price Schedule

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Tender Ref: OCT-23-128**

Please mention your bid / quote on this form along with your sign and stamp on each page or in the same manner on your letter head.

Delivery Location: Project area of District Shaheed Benazirabad, Sindh, Pakistan.

Lot No. 01 Installation of 14 Solar System 03KW in Health Facilities in Shaheed Benazirabad, Sindh Pakistan

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **Item Name** | **Unit** | **Quantity** | **Unit price of 1 item inclusive of taxes, packing, loading/ unloading, Transportation to Delivery Location of District Shaheed Benazirabad, Sindh**  **(To be filled in PKR by the bidder)** | **Total price inclusive of taxes, packing, loading/ unloading, Transportation to Delivery Location of District Shaheed Benazirabad, Sindh**  **(To be filled in PKR by the bidder)** | **Delivery Time in Days after PO/Supplies Contract** |
| 1 | Maintenance Free Battery 12V 200Ah Gel/VRLA, 1 Years Warranty 600 Cycles 50% DOD | No | **2** |  |  |  |
| 2 | SOLAR PV MODULE (550 Watts) Tier 1 Grade A 10 Years Warranty | No | **6** |  |  |  |
| 3 | HYBRID INVERTER 3.2 kW with 4000 Watts PV 24 Volt 2 years Warranty | Units | **1** |  |  |  |
| 4 | Solar Panel Structure Galvanized Iron 14 Guage | No | **6** |  |  |  |
| 5 | Battery Racks 2 x 12V 200Ah | No | **1** |  |  |  |
| 6 | PVC flexible pipe for Panel Wiring | Ft | **100** |  |  |  |
| 7 | Selector Switch | No | **1** |  |  |  |
| 8 | Circuit Breaker 63/100A | No | **2** |  |  |  |
| 9 | Circuit Breaker 32A | No | **2** |  |  |  |
| 10 | Duct (White) | Ft | **100** |  |  |  |
| 11 | AC/DC Fans | No | **10** |  |  |  |
| 12 | Nut Bolts with washer for Solar Panels | Set | **20** |  |  |  |
| 13 | MC4 Connectors for Panels | Pairs | **4** |  |  |  |
| 14 | Maintenance Material Kit for complete AC Solar System | Set | **1** |  |  |  |
| 15 | Main Distribution Board | No | **1** |  |  |  |
| 16 | DC Breaker Box | No | **1** |  |  |  |
| 17 | PVC Flexible pipe clips | Packet | **1** |  |  |  |
| 18 | Steel Nails 1 inch | Packet | **1** |  |  |  |
| 19 | DC Cable: 6 mm sq. 2C | Ft | **300** |  |  |  |
| 20 | DC Cable :25 mm sq. SC | Ft | **55** |  |  |  |
| 21 | AC Cable : 7/0.036 SC | Ft | **300** |  |  |  |
| 22 | Installation Category-B (3 KW) Labor Only | Site | **1** |  |  |  |
| 23 | Visibility Plates/ Inauguration Plaque as instructed by Engineer incharge | Job | **1** |  |  |  |
| **TOTAL AMOUNT OF 01 SET** | | | | |  | |
| **TOTAL AMOUNT OF 14 SETS** | | | | |  | |

Grand Total Amount in words: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Name of Bidder Signature & Stamp of Bidder Date

Contact Number Email Address

Office Address