## AB Latrine Actual
Construction/Rehabilitation of climate resilient inclusive latrines in Educational institutes & health Facilities
ABSTRACT OF COST (CIVIL WORK) Latrine
S.No. | Description | Quantity | Unit | Rate (Rs)
1 | Dismantling of concrete, brick work etc. | 63 | CFT | 60
2 | Cleaning work etc. | 1 | Job | 2000
3 | Excavation in foundation of building, bridges etc. complete in ordinary soil | 227 | CFT | 40
4 | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:4:8) | 14.535 | CFT | 300
5 | 1st class brick work in Foundation, Super structure in Cement, sand mortar 1:6 | 237.832 | CFT | 370
6 | RCC in roof slab, beam, column & other structural members, insitu or precast. Type C (1:2:4) | 1.6087 | CFT | 500
7 | Supply & fabricate M.S. reinforcement for cement concrete, (Hot rolled deformed bars Grade 40) | 5.3649 | KG | 350
8 | Filling, watering and ramming earth under floor with earth excavated from outside lead upto 30m | 80 | CFT | 200
9 | Provide, lay, water & ram 4" thick clean coarse sand under floor / brick paving, complete | 10 | CFT | 150
10 | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 29.3803 | CFT | 400
11 | Removing cement or lime plaster | 10 | sft | 15
12 | Applying Floating coat of cement 1/32" thick | 10 | sft | 20
13 | Cement plaster 1:4 upto 20' height 1/2" thick | 440.5 | sft | 50
14 | Preparing the surface and painting with matt finishing include rubbing the surface filling the voids with zinc chalk plaster of Paris mixture applying first coat of premier making the surface and then painting 3 coats matt finish paint with ICI matt finish etc. | 144 | sft | 40
15 | Preparing The Surface & painting with Snowcem/ weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk plaster of Paris & then painting weather coat of approved make | 240 | sft | 50
16 | laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" Thick cement motor 1:2 (as per need / Instructed by Engineer incharge) | 100 | sft | 50
17 | P/F GI Frame chowkhat Size 7"*2" for Door using 20 gauge G.I Sheet I/C welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants using in making and fixing etc. complete. (as per need / Instructed by Engineer incharge) | 16.5 | Rft | 400
18 | Providing and fixing in position doors, windows and ventilators of 1st class deodar wood frames and 1-1/2" thick teak wood ply shutters of 2nd class deodar wood skeleton (Solid) styles and rails core of partial wood and teak ply wood (3-ply) on both sides i/c holds fasts, hinges, iron tower bolts, handles and cleats with cord etc. with Wooden chowkat complete ((as per need / Instructed by Engineer incharge) | 15 | sft | 1000
19 | Providing and fixing single leaf steel door with 1.5"x 1.5"x 1/8"angle iron frame fully panelled with M.S sheet 20 gauge (0.9mm pressed) painted with two coats of red oxide & 3 Coats of Dark Green paint with fitting of approved make including cost of fabrication, iron lugs, cutting holes and making good the damages to walls Complete (as per need / Instructed by Engineer incharge) | 15 | sft | 800
20 | Installation of Wire gauze including all fixers (as per need / Instructed by Engineer incharge) | 36 | sft | 100
21 | MS flat 1/2"x1/8" grill in windows of approved design including painting 3 coats & Wire gauze, complete ( as per need / Instructed by Engineer incharge) | 3 | sft | 1200
22 | Providing and Fixing glazed earthen ware WC squatting type with built-in foot rests, including P trap etc. complete in all respects :White | 1 | No | 4000
23 | Providing and Fixing PVC floor trap of approved quality including grating, Jali, Outlet pipe & concrete chamber all round : 4"x2" (100mm x 50 mm) (as per need / Instructed by Engineer incharge) | 1 | Job | 2500
24 | Providing and fixing 3/4" dia UPVC pipe Best quality include cutting etc. complete including all fixtures & fittings as directed by engineer incharge | 50 | Rft | 130
25 | Providing and fixing chromium plated (CP)bib-cock heavy duty of approved quality : 1.5 cm 1/2" | 1 | No | 1800
26 | P/L approved quality UPVC pipes for water supply and gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia | 14 | Ft | 250
27 | P/L approved quality RCC pipes for water supply and gas supply i/c fitting, cutting, jointing, jointing material including excavation and back filling. Complete : 6" dia | 14 | Ft | 300
28 | P/F approved quality UPVC Vent pipes 2" complete including Cowl & Complete fittings. (as per need / Instructed by Engineer incharge) | 1 | Job | 1500
29 | Pre-Cast RCC slabs having size bracing thickness 2'', centre thickness 3/4'' Complete including Girders for support & grouting above slabs | 71.75 | sft | 400
30 | Mild Steel Hand rail on both side, Stair/Ramp 2.5' height 1.5" x1.5" Square (450 gm/ft) including concrete etc. complete (as per need / Instructed by Engineer incharge) | 1 | Job | 10000
31 | Visibility Plates/ Inauguration Plaque Stainless steel ( 22 SWG) size 15"x12"as instructed by Engineer incharge | 1 | Job | 5000
32 | Supplying & Fixing fiber glass tank of approved quality and design and wall thickness as specified I/c cost of nuts, bolts and fixing in plateform of cement concrete 1:3:6 and making connections for in-let, & out-let & over flow pipes with gate valve etc. complete 100 gallons wall thickness 3.5mm (as per need / Instructed by Engineer incharge) | 1 | Job | 20000
33 | Providing and Fixing glazed earthen ware wash hand basin (WHB/Vanity) white in color of Porta or Bright, complete, size 56x40 cm (22"x16"), including pedestal, bracket set, Side Pillar Cook Water Tap, waste coupling, 1-1/4'' Ф strainers, 1-1/4'' Ф drain pipe, soap dish, complete in all respects: | 1 | Job | 15000
34 | P/Fixing orise type white or colour glazed earthen ware European style Complete with all other fixtures as directed by engineer incharge | 1 | Job | 12000
35 | P/Fixing Muslim Shower | 1 | Job | 3000

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
1 | Dismentalling of concrete, brick work etc
| Long wall | 2 | 7.25 | 1.5 | 2 | .= | 43.5 | Cft | 150.25 | c/c
| Short wall | 2 | 3.25 | 1.5 | 2 | .= | 19.5
| Total Qty in CFt | [5 empty] | 63 |  |  |  | 6 | 5.33 | 5.33 | 6.25 | .= | 1065.3338
2 | Excavation in foundation of building.
| Long wall | 2 | 7.25 | 1.5 | 2 | .= | 43.5 | Cft | 150.25 | c/c
| Short wall | 2 | 3.25 | 1.5 | 2 | .= | 19.5
| Total Qty in CFt | [5 empty] | 63 |  |  |  | 6 | 5.33 | 5.33 | 6.25 | .= | 1065.3338
3 | P.C.C (1:4:8) as in foundation. | [14 empty] | #REF!
| Long wall | 2 | 7.25 | 1.5 | 0.25 | .= | 5.4375 | Cft | 150.25 | c/c
| Short wall | 2 | 3.25 | 1.5 | 0.25 | .= | 2.4375
| Total Qty in CFt | [5 empty] | 7.875
4 | B. B work (1:4) as in super structure.
| 1st Step in Foundation | [6 empty] | Cft | 150.25 | c/c
| Long wall | 2 | 6.875 | 1.125 | 0.5 | 7.7344 | 7.7344
| Short Wall | 2 | 3.625 | 1.125 | 0.5 | 4.0781 | 4.0781
| 2nd Step in Foundation | [5 empty] | 0
| Long wall | 2 | 6.5 | 0.75 | 3.25 | 31.6875 | 31.6875
| Short Wall | 2 | 4 | 0.75 | 3.25 | 19.5 | 19.5
| stair steps/ramp | 1 | 5 | 3 | 1 | 15 | 15
| Super structure | [6 empty] | Cft
| Long wall | 2 | 6.5 | 0.75 | 8 | 78 | 78
| Short Wall | 2 | 4 | 0.75 | 8 | 48 | 48
| Deduction for door | -1 | 2.5 | 0.75 | 6 | -11.25 | -11.25
| Deduction for Vent | -1 | 2 | 0.75 | 1 | -1.5 | -1.5
| Total Qty in CFt | [5 empty] | 191.25
5 | R C C (1:2:4) as in lintle /bressumer etc.Lintle
Roof beams.
| Lintle beam | 1 | 3.5 | 0.75 | 0.33 | .= | 0.86625 | Cft | 150.25 | c/c
| Slab | 1 | 3 | 0.75 | 0.33 | .= | 0.7425 | Cft
| Total Qty in CFt | [5 empty] | 1.6087
6 | Fabrication of steel
| 1.5% of item No-4 |  | 1.6087 | 9.8 |  | .= |  | Tone
| Qty in KG |  | 2204 |  |  |  | 5.3649
7 | Earth filling under floor
|  | 1 | 8 | 5 | 2 | .= | 80 | Cft
| Total Qty in CFt |  |  |  |  | Total = | 80 | Cft
8 | Sand filling under floor.
|  | 1 | 4 | 5 | 0.5 | .= | 10 | Cft
| Total Qty in CFt | [5 empty] | 10
9 | PCC (1:2:4)
| DPC | 1 | 21 | 0.75 | 0.167 | .= | 2.6303
| Floor | 1 | 5 | 5 | 0.25 |  | 6.25
| Ramp | 1 | 10 | 3 | 0.25 |  | 7.5
| Plinth Protection | 1 | 26 | 2 | 0.25 |  | 13
| Total Qty in CFt | [5 empty] | 29.3803
10 | 1/2'' thick cement sand plaster (1:4)
| Internal | 1 | 18 |  | 8 | 144 | 144 | Sft
| External | 1 | 24 |  | 10 | 240 | 240 | Sft
| Steps/Ramp preparation | 1 | 5 |  | 5 | 25 | 25
| Deduction for door | -2 | 2.5 |  | 6 | -30 | -30
| Deduction for Vent | -2 | 2 |  | 1.5 | -6 | -6
| Total Qty in SFt |  |  |  |  | .= | 373 | Sft
11 | Preparing the surface and painting with matt finishing include rubbing the surface filling the voids with zinc chalk plaster of Paris mixture applying first coat of premier making the surface and then painting 3 coats matt finish paint with ICI matt finish etc
| Internal |  |  |  |  | .= | 144 | Sft
| Total Qty in SFt |  |  |  |  | .= | 144
12 | Preparing The Surface & painting with Snowcem/ weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk plaster of Paris & then painting weather coat of approved make
| External |  |  |  |  | .= | 240 | Sft
| Total Qty in SFt |  |  |  |  | .= | 240
13 | S/F of Steel Door
|  | 1 | 2.5 |  | 6 | .= | 15 | Sft
| Total Qty in SFt |  |  |  |  | .= | 15
14 | S/F of steel grill.
| V | 0 | 1.5 |  | 2 |  | 0 | Sft
| Total Qty in SFt |  |  |  |  | .= | 0 | Sft
B | Septic Tank 5' x 4'
a | Excavation | 1 | 5 | 4 | 5 | 100 | 100
b | PCC 1:4:8 in bed | 1 | 5 | 4 | 0.333 | 6.66 | 6.66
c | Brick Masonary CS 1:4
| Long Wall | 2 | 5 | 0.375 | 4.5 | 16.875 | 16.875
| Short Wall | 2 | 3.25 | 0.375 | 4.5 | 10.9688 | 10.9688
| Central wall | 1 | 3.25 | 0.375 | 4.5 | 5.4844 | 5.4844
| Total |  |  |  |  | 33.3281 | 33.3281
| plaster 1:4 internal ST | 1 | 15 |  | 4.5 | 67.5 | 67.5
C | Pre-Cast RCC Slabs for Cabin, ST, SP
| Latrine | 1 | 6.5 | 5.5 |  | 35.75 | 35.75
| SP | 1 | 4 | 4 |  | 16 | 16
| ST | 1 | 5 | 4 |  | 20 | 20
[6 empty] | 71.75 | 71.75
D | Soak away pit (Specially in case drainage is not available)
a | Excavation | 1 | 4 | 4 | 4 | 64 | 64
b | Brick Masonary for Callar of pit
| Long Wall | 2 | 4 | 0.375 | 3.75 | 11.25 | 11.25
| Long Wall | 2 | 3.25 | 0.375 | 3.75 | 9.1406 | 9.1406
20.3906
| Quanitity after Deduction of BBW 65% | [5 empty] | 13.2539

## Milstones (3) (hidden)
Milestones, Module LB
| S.No | Milestone |  | Cost (Rs Millions) | Percentage of total Cost
GROUND FLOOR
Step 1 | 1 | Excavation, |  | #REF! | #REF!
| 2 | PCC 1:4:8
| 3 | RCC 1:2:4 in Footing
| 4 | RCC 1:2:4 in Plint beam, Neck column
| 5 | Mild Steel
| 6 | Back Filling
GROUND FLOOR
Step 2 | 1 | RCC 1:2:4 in Super Structure |  | #REF! | #REF!
| 2 | Mild Steel
| 3 | Filling
| 4 | Sand Filling
| 5 | PCC 1:3:6
| 6 | Termite Proofing
| 7 | Electrical Conduits 33 %
GROUND FLOOR
Step 3 | 1 | Brick work in G/F |  | #REF! | #REF!
| 2 | Steel Chokat
| 3 | Steel Window
| 4 | Wooden Joinery
| 5 | Marble Flooring
| 6 | Marble Skirting
| 7 | Plaster 1/2"
| 8 | Plaster 3/8"
| 9 | Electrical Conduits 20 % | 33%
GROUND FLOOR
Step 4 | 1 | Finishing |  | #REF! | #REF!
| 2 | Electrical Conduits 20 % | 33%
|  | Total |  | #REF! | #REF!

## Finishing sub Detail (2) (hidden)
Steps - 1 | [9 empty] | 13324298.8812
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Excavation, |  | 227 | M3 | 105.1 | 23857.7
2 | PCC 1:4:8 |  | 14.535 | M3 | 2890.3 | 42010.5105
3 | RCC 1:2:4 in Footing |  | #REF! | M3 | 4699.95 | #REF!
4 | RCC 1:2:4 in Plint beam, Neck column |  | #REF! | M3 | 5261.5 | #REF!
5 | Mild Steel |  | #REF! | T | 82234.55 | #REF! | 21% cost of Foudation | #REF!
6 | Back Filling |  | 80 | M3 | 104.55 | 8364
| Total |  |  |  |  | #REF!
| ADD 8% Location Factor |  |  |  |  | #REF!
| TOTAL |  |  |  |  | #REF!
| ADD 28% Primium |  |  |  |  | #REF!
| NET TOTAL |  |  |  |  | #REF!
| Add 0.5% Contigency |  |  |  |  | #REF!
| In Million |  |  |  |  | #REF!
1828097.2107
Steps - 2
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs) |  |  | #REF!
1 | RCC 1:2:4 in beam and slab |  | #REF! | M2 | 5261.5 | #REF!
2 | Mild Steel |  | 5.3649 | T | 82234.55 | 441182.8573
3 | Sand Filling |  | 10 | M3 | 712.91 | 7129.1
4 | PCC 1:3:6 |  | #REF! | M2 | 2890.3 | #REF!
6 | Electrical Conduits 33 % |  |  |  |  | #REF!
| Total |  |  |  |  | #REF!
| ADD 8% Location Factor |  |  |  |  | #REF!
| TOTAL |  |  |  |  | #REF!
| ADD 28% Primium |  |  |  |  | #REF!
| NET TOTAL |  |  |  |  | #REF!
| Add 0.5% Contigency |  |  |  |  | #REF!
| In Million |  |  |  |  | #REF!
Steps - 3
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Brick work in G/F |  | 237.832 | M3 | 3925.2 | 933538.2891
2 | Steel Chokat |  | 15 | M2 | 1053.93 | 15808.95
3 | Steel Window |  | #REF! | M2 | 4635.02 | #REF!
4 | Wooden Joinery |  | #REF! | M2 | 6971.16 | #REF!
5 | Marble Flooring |  | 29.3803 | M2 | 1494.14 | 43898.2067
6 | Marble Skirting |  | #REF! | M2 | 596.56 | #REF!
7 | Plaster 1/2" |  | 440.5 | M2 | 123.61 | 54450.205
8 | Plaster 3/8" |  | #REF! | M2 | 144.68 | #REF!
9 | Electrical Conduits 20 % | 33% |  |  |  | #REF!
| Total |  |  |  |  | #REF!
| ADD 8% Location Factor |  |  |  |  | #REF!
| TOTAL |  |  |  |  | #REF!
| ADD 28% Primium |  |  |  |  | #REF!
| NET TOTAL |  |  |  |  | #REF!
| Add 0.5% Contigency |  |  |  |  | #REF!
| In Million |  |  |  |  | #REF!
Steps - 4
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Finishing |  |  |  |  | #REF!
2 | Electrical Conduits 20 % | 33% |  |  |  | #REF!
| Total |  |  |  |  | #REF!
| ADD 8% Location Factor |  |  |  |  | #REF!
| TOTAL |  |  |  |  | #REF!
| ADD 28% Primium |  |  |  |  | #REF!
| NET TOTAL |  |  |  |  | #REF!
| Add 0.5% Contigency |  |  |  |  | #REF!
| In Million |  |  |  |  | #REF!
#REF!